|  |
| --- |
| <event>  <uei>uei.opennms.org/mqttplugin/message/event/write/1</uei>  <event-label>OpenNMS mqtt plugin received WRITE alarm raise message from topic %parm[message-topic]</event-label>  <descr>OpenNMS mqtt plugin received WRITE alarm raise message from topic %parm[message-topic] message parameters: %parm[all]%</descr>  <logmsg dest="logndisplay">  OpenNMS mqtt plugin received WRITE alarm raise message from topic %parm[message-topic] message parameters: %parm[all]%  </logmsg>  <severity>Warning</severity>  <alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false"/>  </event> |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| <event><uei> | Open NMS UEI | </uei> | <event-label> | eventlabel | </event-label> | <logmsg dest="logndisplay"> | Log msg | </logmsg><descr> | Description | </descr><severity> | Severity | </severity><alarm-data | alarmdata | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/1 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Mains Power Failed | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/0 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Mains Power Failed | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/1 | </uei> | <event-label> | Environmental Alarm: Ground Cabin UPS Down no backup power supply | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Minor | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/0 | </uei> | <event-label> | Environmental Alarm: Ground Cabin UPS Down no backup power supply | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Minor | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Power Supply Unit Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Power Supply Unit Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin QBand Power Amp Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed &lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin QBand Power Amp Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed &lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Radio Frequency Over Limit | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Radio Frequency Over Limit | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband OverCurrent above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband OverCurrent above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Temperature above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Qband Temperature above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin S-Band Ground Station Antena Positioner Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin S-Band Ground Station Antena Positioner Failed | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin VSWHigh above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin VSWHigh above safe threshold | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/1 | </uei> | <event-label> | Security Alarm: Ground Cabin BayDoor Open | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin %nodelabel% BayDoor Open | </logmsg><descr> | Security Alarm: Ground Cabin %nodelabel% BayDoor Open&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/0 | </uei> | <event-label> | Security Alarm: Ground Cabin BayDoor Open | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin %nodelabel% BayDoor Open | </logmsg><descr> | Security Alarm: Ground Cabin %nodelabel% BayDoor Open&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/1 | </uei> | <event-label> | Security Alarm: Ground Cabin Station SiteMonitor Down | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down | </logmsg><descr> | Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/0 | </uei> | <event-label> | Security Alarm: Ground Cabin Station SiteMonitor Down | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down | </logmsg><descr> | Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/1 | </uei> | <event-label> | Security Alarm: Ground Cabin High Cabinet Temperature | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature | </logmsg><descr> | Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/0 | </uei> | <event-label> | Security Alarm: Ground Cabin High Cabinet Temperature | </event-label> | <logmsg dest="logndisplay"> | Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature | </logmsg><descr> | Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Smoke Alarm triggered on | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Smoke Alarm triggered on | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin High Humidity | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% High Humidity | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% High Humidity&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin High Humidity | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% High Humidity | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% High Humidity&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/1 | </uei> | <event-label> | Environmental Alarm: Ground Cabin AirConditioner down check site temperature | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/0 | </uei> | <event-label> | Environmental Alarm: Ground Cabin AirConditioner down check site temperature | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/1 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Fan Cooling System down check site temperature | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/0 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Fan Cooling System down check site temperature | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/1 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Q-BandRSSI obove safe treshold | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/0 | </uei> | <event-label> | Environmental Alarm: Ground Cabin Q-BandRSSI obove safe treshold | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold | </logmsg><descr> | Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin Customer node Band Power - outside normal limits consult Node B operator | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin Customer node Band Power - outside normal limits consult Node B operator | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/1 | </uei> | <event-label> | Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/0 | </uei> | <event-label> | Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment | </event-label> | <logmsg dest="logndisplay"> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment | </logmsg><descr> | Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Major | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/1 | </uei> | <event-label> | Environmental Alarm: Ground Station Site Temperature above safe levels | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels | </logmsg><descr> | Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/0 | </uei> | <event-label> | Environmental Alarm: Ground Station Site Temperature above safe levels | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels | </logmsg><descr> | Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/1 | </uei> | <event-label> | Environmental Alarm: Ground Station Cabinet Temperature above safe levels | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels | </logmsg><descr> | Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/0 | </uei> | <event-label> | Environmental Alarm: Ground Station Cabinet Temperature above safe levels | </event-label> | <logmsg dest="logndisplay"> | Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels | </logmsg><descr> | Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Warning | </severity><alarm-data | reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" | /></event> |
| <event><uei> |  | </uei> | <event-label> |  | </event-label> | <logmsg dest="logndisplay"> |  | </logmsg><descr> |  | </descr><severity> |  | </severity><alarm-data |  | /></event> |
| <event><uei> |  | </uei> | <event-label> |  | </event-label> | <logmsg dest="logndisplay"> |  | </logmsg><descr> |  | </descr><severity> |  | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/QBandTxPower/relayStatus/1 | </uei> | <event-label> | Command: Ground Station Power Amp Power Amp RF Disconnect | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect | </logmsg><descr> | Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/QBandTxPower/relayStatus/0 | </uei> | <event-label> | Command: Ground Station Power Amp Power Amp RF Disconnect | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect | </logmsg><descr> | Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControlQBandPARF\_Discon/relayStatus/1 | </uei> | <event-label> | Command: Ground Station Power Amp has been reset | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Power Amp has been reset | </logmsg><descr> | Command: Ground Station %nodelabel% Power Amp has been reset&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControlQBandPARF\_Discon/relayStatus/0 | </uei> | <event-label> | Command: Ground Station Power Amp has been reset | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Power Amp has been reset | </logmsg><descr> | Command: Ground Station %nodelabel% Power Amp has been reset&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/SiteFWReboot/relayStatus/1 | </uei> | <event-label> | Command: Ground Station Site Firewall has been rebooted | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Site Firewall has been rebooted | </logmsg><descr> | Command: Ground Station %nodelabel% Site Firewall has been rebooted&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/SiteFWReboot/relayStatus/0 | </uei> | <event-label> | Command: Ground Station Site Firewall has been rebooted | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Site Firewall has been rebooted | </logmsg><descr> | Command: Ground Station %nodelabel% Site Firewall has been rebooted&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/Door/relayStatus/1 | </uei> | <event-label> | Command: Ground Station Door Status open when relayStaturs = 1 | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Door Status open when relayStaturs = 1 | </logmsg><descr> | Command: Ground Station %nodelabel% Door Status open when relayStaturs = 1&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |
| <event><uei> | uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/Door/relayStatus/0 | </uei> | <event-label> | Command: Ground Station Door Closed when relayStatus = 0 | </event-label> | <logmsg dest="logndisplay"> | Command: Ground Station %nodelabel% Door Closed when relayStatus = 0 | </logmsg><descr> | Command: Ground Station %nodelabel% Door Closed when relayStatus = 0&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% | </descr><severity> | Normal | </severity><alarm-data |  | /></event> |

<event><uei>Open NMS UEI</uei><event-label>eventlabel</event-label><logmsg dest="logndisplay">Log msg</logmsg><descr>Description</descr><severity>Severity</severity><alarm-data alarmdata /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/1</uei><event-label>Environmental Alarm: Ground Cabin Mains Power Failed</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/0</uei><event-label>Environmental Alarm: Ground Cabin Mains Power Failed</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Mains Power Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-GSMains/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/1</uei><event-label>Environmental Alarm: Ground Cabin UPS Down no backup power supply</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Minor</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/0</uei><event-label>Environmental Alarm: Ground Cabin UPS Down no backup power supply</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% UPS Down no backup power supply&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Minor</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI01-UPS/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin Qband Power Supply Unit Failed</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin Qband Power Supply Unit Failed</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Power Supply Unit Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI02-QBandPSU/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin QBand Power Amp Failed </event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed </logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed &lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin QBand Power Amp Failed </event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed </logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% QBand Power Amp Failed &lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI03-QBandPA\_off/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin Qband Radio Frequency Over Limit</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin Qband Radio Frequency Over Limit</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Radio Frequency Over Limit&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI04-QBandRFOverLimit/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin Qband OverCurrent above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin Qband OverCurrent above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband OverCurrent above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI05-QBandOverCurrent/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin Qband Temperature above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin Qband Temperature above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Qband Temperature above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI06-QBandOverTemp/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin S-Band Ground Station Antena Positioner Failed</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin S-Band Ground Station Antena Positioner Failed</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% S-Band Ground Station %nodelabel% Antena Positioner Failed&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI07-PosCtrlFail/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin VSWHigh above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin VSWHigh above safe threshold</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% VSWHigh above safe threshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI08-VSWHigh/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/1</uei><event-label>Security Alarm: Ground Cabin BayDoor Open</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin %nodelabel% BayDoor Open</logmsg><descr>Security Alarm: Ground Cabin %nodelabel% BayDoor Open&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/0</uei><event-label>Security Alarm: Ground Cabin BayDoor Open</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin %nodelabel% BayDoor Open</logmsg><descr>Security Alarm: Ground Cabin %nodelabel% BayDoor Open&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI09-BayDoorStatus/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/1</uei><event-label>Security Alarm: Ground Cabin Station SiteMonitor Down</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down</logmsg><descr>Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/0</uei><event-label>Security Alarm: Ground Cabin Station SiteMonitor Down</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down</logmsg><descr>Security Alarm: Ground Cabin Station %nodelabel% SiteMonitor Down&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI10-AntennaPSU/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/1</uei><event-label>Security Alarm: Ground Cabin High Cabinet Temperature</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature</logmsg><descr>Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/0</uei><event-label>Security Alarm: Ground Cabin High Cabinet Temperature</event-label><logmsg dest="logndisplay">Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature</logmsg><descr>Security Alarm: Ground Cabin %nodelabel% High Cabinet Temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI11-HighCapTemp/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin Smoke Alarm triggered on</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin Smoke Alarm triggered on</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Smoke Alarm triggered on&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI12-SmokeAlarm/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin High Humidity</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% High Humidity</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% High Humidity&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin High Humidity</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% High Humidity</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% High Humidity&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI13-HighHumidity/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/1</uei><event-label>Environmental Alarm: Ground Cabin AirConditioner down check site temperature</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/0</uei><event-label>Environmental Alarm: Ground Cabin AirConditioner down check site temperature</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% AirConditioner down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI14-AirCon/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/1</uei><event-label>Environmental Alarm: Ground Cabin Fan Cooling System down check site temperature</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/0</uei><event-label>Environmental Alarm: Ground Cabin Fan Cooling System down check site temperature</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Fan Cooling System down check site temperature&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI15-FanTray/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/1</uei><event-label>Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/0</uei><event-label>Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/DI00-PositionerMisalignment/diStatus/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/1</uei><event-label>Environmental Alarm: Ground Cabin Q-BandRSSI obove safe treshold</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/0</uei><event-label>Environmental Alarm: Ground Cabin Q-BandRSSI obove safe treshold</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold</logmsg><descr>Environmental Alarm: Ground Cabin %nodelabel% Q-BandRSSI obove safe treshold&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/DigitalInput/AI0-QBandRSSI/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/1</uei><event-label>Payload Alarm: Ground Cabin Customer node Band Power - outside normal limits consult Node B operator</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/0</uei><event-label>Payload Alarm: Ground Cabin Customer node Band Power - outside normal limits consult Node B operator</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% Customer node Band Power - outside normal limits consult Node B operator&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI1-NodeBWBandPower/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/1</uei><event-label>Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/0</uei><event-label>Payload Alarm: Ground Cabin SBAND Antena Positioner Misalignment</event-label><logmsg dest="logndisplay">Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment</logmsg><descr>Payload Alarm: Ground Cabin %nodelabel% SBAND Antena Positioner Misalignment&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Major</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI2-PostMisalign/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/1</uei><event-label>Environmental Alarm: Ground Station Site Temperature above safe levels</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels</logmsg><descr>Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/0</uei><event-label>Environmental Alarm: Ground Station Site Temperature above safe levels</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels</logmsg><descr>Environmental Alarm: Ground Station %nodelabel% Site Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI3-SiteTemp/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/1</uei><event-label>Environmental Alarm: Ground Station Cabinet Temperature above safe levels</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels</logmsg><descr>Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" auto-clean="false" /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/0</uei><event-label>Environmental Alarm: Ground Station Cabinet Temperature above safe levels</event-label><logmsg dest="logndisplay">Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels</logmsg><descr>Environmental Alarm: Ground Station %nodelabel% Cabinet Temperature above safe levels&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Warning</severity><alarm-data reduction-key="%uei%:%dpname%:%nodeid%:%parm[message-topic]%" alarm-type="1" clear-key="uei.opennms.org/mqttplugin/altohaps/v1/read/AnalogueInput/AI4-CabTemp/aiValueRaw/1:%dpname%:%nodeid%:%parm[message-topic]%" auto-clean="false" /></event>

<event><uei></uei><event-label></event-label><logmsg dest="logndisplay"></logmsg><descr></descr><severity></severity><alarm-data /></event>

<event><uei></uei><event-label></event-label><logmsg dest="logndisplay"></logmsg><descr></descr><severity></severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/QBandTxPower/relayStatus/1</uei><event-label>Command: Ground Station Power Amp Power Amp RF Disconnect</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect</logmsg><descr>Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/QBandTxPower/relayStatus/0</uei><event-label>Command: Ground Station Power Amp Power Amp RF Disconnect</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect</logmsg><descr>Command: Ground Station %nodelabel% Power Amp Power Amp RF Disconnect&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControlQBandPARF\_Discon/relayStatus/1</uei><event-label>Command: Ground Station Power Amp has been reset</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Power Amp has been reset</logmsg><descr>Command: Ground Station %nodelabel% Power Amp has been reset&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControlQBandPARF\_Discon/relayStatus/0</uei><event-label>Command: Ground Station Power Amp has been reset</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Power Amp has been reset</logmsg><descr>Command: Ground Station %nodelabel% Power Amp has been reset&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/SiteFWReboot/relayStatus/1</uei><event-label>Command: Ground Station Site Firewall has been rebooted</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Site Firewall has been rebooted</logmsg><descr>Command: Ground Station %nodelabel% Site Firewall has been rebooted&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/SiteFWReboot/relayStatus/0</uei><event-label>Command: Ground Station Site Firewall has been rebooted</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Site Firewall has been rebooted</logmsg><descr>Command: Ground Station %nodelabel% Site Firewall has been rebooted&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/Door/relayStatus/1</uei><event-label>Command: Ground Station Door Status open when relayStaturs = 1</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Door Status open when relayStaturs = 1</logmsg><descr>Command: Ground Station %nodelabel% Door Status open when relayStaturs = 1&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>

<event><uei>uei.opennms.org/mqttplugin/altohaps/v1/write/RemoteControl/Door/relayStatus/0</uei><event-label>Command: Ground Station Door Closed when relayStatus = 0</event-label><logmsg dest="logndisplay">Command: Ground Station %nodelabel% Door Closed when relayStatus = 0</logmsg><descr>Command: Ground Station %nodelabel% Door Closed when relayStatus = 0&lt;BR&gt;mqtt plugin received message from topic %parm[message-topic]&lt;BR&gt; all message parameters: %parm[all]% </descr><severity>Normal</severity><alarm-data /></event>